**INFILTRATING BIORETENTION NOTES**

***Unless Otherwise Noted***

1. Bioretention cells shall be per Standard Plan 292 or 293a and Specification 7-21 with grading and bottom area as shown on the approved plan. Subgrade shall be scarified 4 inches minimum prior to placement of bioretention soil. Imported bioretention soil shall be per Specification 9-14.1(3).
2. Bioretention landscaping shall be as shown on the approved plan. Changes to the approved landscaping plan require submittal of a revised landscaping plan.
3. Prior to placing bioretention soils, cells shall be inspected and approved the City of Seattle, or an approved representative. All soil mix tickets shall be submitted at or before this scheduled inspection.
4. Prior to placing mulch, cells shall be inspected and approved by the City of Seattle, or an approved representative. Arborist wood mulch shall be per Specification 9-14.4(4).
5. Finished grade shall be one inch below walks and curbs.
6. After planting, cells shall be inspected and approved by the City of Seattle, or an approved representative.
7. Sub-surface drain (SSD) pipe and fittings, if required, shall be per Standard Plan No. 291. Bedding shall be Mineral Aggregate Type 26 per Standard Plan 293a.
8. Protect all bioretention cells from accumulating sediments and compaction. Any impacted bioretention cell shall be restored to fully functioning condition by removal of sediment laden soils, over excavation as approved by the City of Seattle, or an approved representative and replacement with new bioretention soil.
9. Water to ensure vegetation survival.