## Slide 1: An Introduction to the 2015 Needs Assessment and Survey Paige Igoe Washington State Office of Drinking Water
Notes: Official name is Drinking Water Infrastructure Needs Survey and Assessment (DWINSA). Sometimes I’ll fall into calling it “the survey”.

## Slide 2: What is the Needs Assessment?
20-year forecast of capital investment needs
Required by Congress every four years.
  Includes all 11 large utilities ( over 100,000 population)
  Includes 44 medium-sized utilities (3,300 to 100,000 population)
Framework:
  Project-by-project bottom-up approach
  Statistically valid
  Rigorous documentation

## Slide 3: Why is it Important to Utilities?
Future annual DWSRF allotment will be determined by the Needs Assessment
Small change in national share makes a big difference in the annual DWSRF allotment
Recent Needs Assessment results:
  2007: 2.55 percent of national need
  2011: 2.33 percent of national need
Notes:   If our percentage had stayed at 2.55 percent, we would have received from EPA over $3 million more per year since 2011 to loan to Washington’s public water systems.

## Slide 4: DWSRF Appropriation
Chart: DWSRF Appropriation Nationwide vs Washington State
| FY 2005 | FY 2006 | FY 2007 | FY 2008 | FY 2009 | FY 2010 | FY 2011 | FY 2012 | FY 2013 | FY 2014
Nationwide | 843200000 | 837494900 | 837495000 | 829029000 | 829029000 | 1387000000 | 963070000 | 917892000 | 861326000 | 906896000
Washington | 20447100 | 17642800 | 17643000 | 17464000 | 17464000 | 34650000 | 24044000 | 22914000 | 21499000 | 19741000

## Slide 5: DWSRF Loans
Chart: 
| FY 2005 | FY 2006 | FY 2007 | FY 2008 | FY 2009-ARRA | FY 2010 | FY 2011 | FY 2012 | FY 2013 | FY 2014
Loans Request | 55602543 | 51992287 | 61326451 | 43350546 | 369073706 | 241196970 | 70572293 | 192310545 | 241043182 | 146723286
Loans Funded | 27410152 | 23395542 | 46215138 | 38688118 | 38407450 | 63540774 | 69149077 | 96553758 | 166381049 | 89224890

## Slide 6: Why is it Important to Us?
We may “set aside” some of our annual SRF allotment for important activities:
  Provide source water protection mapping and data storage
  Fund our source water protection, preconstruction, and consolidation/feasibility study grant programs
  Pay third-party technical assistance contractors
  Fund our treatment optimization program
  Subsidize the cost of LHJ surveys, technical assistance, special purpose investigations, emergency response to purveyors

## Slide 7: Strategy
Schedule utilities into three groups:
  April – May
  June – July
  August – September
Assign an ODW main point-of-contact to work with each water utility
Communicate by phone and in writing with each water utility, and request the utility assemble their records

## Slide 8: Strategy
Meet at the utility and review/collect inventory and project information
Update 2011 Needs Assessment survey information (for systems that participated in 2011)
Assemble inventory and project information, confirm with the utility, and submit to EPA.
All information must be to EPA by Nov 31st; Internal deadline for information will be sooner

## Slide 9: Inventory Information Needed
Inventory of Existing Infrastructure1 | Comment
Distribution and transmission mains | Length (feet) broken down by size (pipe diameter)
Reservoirs (raw water storage and finished water storage) | Elevated (stored volume is above the ground) or Ground-level (bottom of tank is in contact with the ground); and volume of each reservoir
Hydropneumatic (pressurized) storage | Volume of each tank
Well or spring (each source) | Rated production capacity (MGD) of each source
Well or spring pump (each pump) | Rated capacity (MGD) of each source pump
ASR well (each well) | Rated withdrawal capacity (MGD) of each well
Raw water source pump (each pump) | Rated production capacity (MGD) of each source pump
Booster pump station | Rated capacity of each station (MGD)
Customer service connections | Number broken down by size (diameter)
Customer service meters | Number broken down by size (diameter)
Emergency power (gen sets) | Rated kW of each unit
Backflow valves owned by the utility | Number broken down by size (diameter)
Distribution system control valves (PRVs) | Number broken down by size (diameter)
Treatment – complete system | Rated treatment capacity (MGD) of each treatment plant
Treatment – limited to chemical injection (e.g., disinfection, fluoridation) | Rated treatment capacity (MGD) of each treatment system
SCADA | Yes, utility has SCADA; or No, utility doesn’t have SCADA
1. Includes any component under construction since 01/01/2015 but not yet in service.
Notes: Over 80 percent of projects are inventory “gimmies”. Our priority will be to ensure we document all your inventory.

## Slide 10: Project Information Needed
Specific projects planned through 2035 | Comment
Specific projects identified in 2011 Needs Assessment | See example at end of presentation.
Pipeline replacement program | Length and size of pipe; phasing (if appropriate). Provide documentation of need; include cost estimate and estimate date.
New or replacement source, ASR project, reservoir, booster pump station, pumps, or treatment (complete or chemical injection) | Project need cannot be to primarily driven by growth or provision of fire flow. Provide documentation of need; include cost estimate and estimate date.
Membrane replacement or filter media replacement | Rated capacity (MGD) of membrane plant and replacement frequency
Upgrade to existing treatment plant | New treatment element (e.g., add UV or corrosion control) to an existing treatment process.
Addition of new treatment (no treatment exists at present) | Example: adding disinfection or fluoridation treatment; rated treatment capacity (MGD)
New emergency power facilities (no emergency power exists at present) | Rated kW per new unit

## Slide 11: Example of 2011 Needs Survey Spreadsheet

## Slide 12: King County Utilities Selected for 2015 Survey
Utility Name | Participant in 2011 Survey? |  | Participant in 2011 Survey?
Bellevue | Yes | Northshore Utility District | Yes
Cascade Water Alliance | No | Pacific | Yes
Cedar River WSD | Yes | Redmond | Yes
Duvall | Yes | Renton | Yes
Highline WD | No | Sammamish Plateau WSD | Yes
Issaquah | Yes | Seattle Public Utilities | Yes
Lakehaven Utility District | Yes | Skyway W&S | Yes
North City WD | Yes | Soos Creek WSD | Yes

## Slide 13: Utility Point of Contact
Utility | Point of Contact | Utility | Point of Contact
Bellevue | Doug Lane | Northshore Utility District | Fanny Yee
Cascade Water Alliance | Chuck Clarke | Pacific | Jim Schunke
Cedar River WSD | Ron Sheadel | Redmond | Jeff Thompson
Duvall | Steve Leniszewski | Renton | Abdoul Gafour JD Wilson
Highline WD | Matt Everett | Sammamish Plateau WSD | Jay Krauss
Issaquah | Bret Heath | Seattle Public Utilities | Joan Kersnar
Lakehaven Utility District | John Bowman | Skyway W&S | Cynthia Lamothe
North City WD | Diane Pottinger | Soos Creek WSD | Ron Speer

## Slide 14: Questions?
CONTACTS:
Scott Torpie
Needs Assessment Coordinator
Phone: (360) 236-3131
Email: Scott.Torpie@doh.wa.gov
Paige Igoe
King County Regional Engineer
Phone: (253) 395-6764
Email: Paige.Igoe@doh.wa.gov