## Slide 1: HOW TO USE A FIRE EXTINGUISHER
Presented by the Seattle Office of Emergency Management

## Slide 2: The objective of this training is to become familiar with a fire extinguisher and how and when to use it.

## Slide 3: SAFETY RULES FIRST
Use fire extinguisher ONLY if you have been trained to use it.
Fire Extinguishers are for small fires in the early stages, or as big as a trash can.
Always have an exit plan when putting out a fire. Make sure that your back is facing an exit.
All fire extinguishers should have an inspection tag and trigger seal and a pin.
Use ALL contents in the Fire Extinguisher and do not try to use again until refilled.

## Slide 4: Anatomy of a Fire Extinguisher

## Slide 5
ABC Fire Extinguishers will put out all types of fires, and most fire extinguishers are ABC.
Different Types of Fires

## Slide 6: How to use a Fire Extinguisher
When using a Fire Extinguisher position yourself 6-8 feet away from the fire, and stand in an upright position holding the extinguisher firmly with both hands.

## Slide 7: How to use a Fire Extinguisher
Once you have positioned yourself appropriately then utilize the PASS method.
P-pull the pin breaking the wire or plastic
A- aim the nozzle at the base of the fire
S- Squeeze the handle to release the agent
S- Sweep the nozzle back and forth to cover the burning material

## Slide 8: Questions?
Thank you for attending- you’ll be happy you prepared ahead of time when the next disaster strikes!