## Spreadsheet
ENERGY ANALYSIS SUMMARY FORM
PROJECT INFORMATION
| DPD Project Address: | _________________________________________________ | [6 empty] | DPD Project Number: | ________
| Project Name: | _________________________________________________ | [6 empty] | Date of this submittal: | ________
| Conditioned Space | [5 empty] | Unconditioned Space
Building Uses: | Office | Retail | Group R | ________ | _________ | Subtotal | Parking | _________ | Subtotal | Total
Area (sq.ft.): | ______ | ________ | ______ | ________ | _________ | 0 | ________ | _________ | 0 | 0
ENERGY CONSUMPTION BY END USE
|  | STANDARD DESIGN |  |  | PROPOSED DESIGN |  |  | DIFFERENCES
END USE | FUEL SOURCE | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Standard Design Total | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Proposed Design Total | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Standard Design Total
Lighting - interior |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Lighting - parking |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Lighting - façade |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Space Heating (1) |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Space Heating (2) |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Space Cooling |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Fans - interior ventilation |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Fans - interior exhaust |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Fans - parking garage |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Service water heating |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Office equipment |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Elevators & escalators |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Refrigeration (food, etc.) |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Cooking (commercial) |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
____________ |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
____________ |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
____________ |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
____________ |  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
|  |  | 0 | 0% |  | 0 | 0% | 0 | 0 | 0%
Total |  | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0
Percent of Standard Design: |  |  | 0% |  | = | #DIV/0! |  | + | #DIV/0!
INSTRUCTIONS:
Electronic Version:
A spreadsheet version is available on the Seattle Energy Code website @ www.seattle.gov/dpd/energy
Project Information:
Enter DPD address, project number, and date of this Energy End Use Summary Form
Enter the space uses in the building and the gross square footage of each.
(Add/revise headings as necessary.) Spreadsheet automatically calculates subtotals and total.
Energy Consumption by End Use:
Enter fuel source for each end use (e.g. electric, gas, oil, steam, etc.)
Enter total energy consumption in BTU for each end use for both the Standard Design and Proposed Design.
(Spreadsheet calculates the BTU/conditioned-square-foot-year, percentages, and differences.)

## Version without formulae
ENERGY ANALYSIS SUMMARY FORM
PROJECT INFORMATION
| DPD Project Address: | _________________________________________________ | [6 empty] | DPD Project Number: | ________
| Project Name: | _________________________________________________ | [6 empty] | Date of this submittal: | ________
| Conditioned Space | [5 empty] | Unconditioned Space
Building Uses: | Office | Retail | Group R | ________ | _________ | Subtotal | Parking | _________ | Subtotal | Total
Area (sq.ft.): | ______ | ________ | ______ | ________ | _________ | ________ | ________ | _________ | _______ | ________
ENERGY CONSUMPTION BY END USE
|  | STANDARD DESIGN |  |  | PROPOSED DESIGN |  |  | DIFFERENCES
END USE | FUEL SOURCE | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Standard Design Total | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Proposed Design Total | Total Energy Use Estimate | BTU/ Cond. Sq.Ft.- Year | % of Standard Design Total
Lighting - interior |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Lighting - parking |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Lighting - façade |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Space Heating (1) |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Space Heating (2) |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Space Cooling |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Fans - interior ventilation |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Fans - interior exhaust |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Fans - parking garage |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Service water heating |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Office equipment |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Elevators & escalators |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Refrigeration (food, etc.) |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Cooking (commercial) |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
____________ |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
____________ |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
____________ |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
____________ |  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
|  | ________ | ______ | _____% | ________ | ______ | _____% | ________ | ______ | _____%
Total |  | ________ | ______ | 100% | ________ | ______ | 100% | ________ | ______
Percent of Standard Design: |  |  | 100% | % | = |  | % | + |  | %
INSTRUCTIONS:
Electronic Version:
A spreadsheet version is available on the Seattle Energy Code website @ www.seattle.gov/dpd/energy
Project Information:
Enter DPD address, project number, and date of this Energy End Use Summary Form
Enter the space uses in the building and the gross square footage of each.
(Add/revise headings as necessary.) Spreadsheet automatically calculates subtotals and total.
Energy Consumption by End Use:
Enter fuel source for each end use (e.g. electric, gas, oil, steam, etc.)
Enter total energy consumption in BTU for each end use for both the Standard Design and Proposed Design.
(Spreadsheet calculates the BTU/conditioned-square-foot-year, percentages, and differences.)